## Slide 1: Velvera Watch Series — Usage Guide

## Slide 2: Getting Started
1. What’s in the Box - Velvera Watch (choose your model) - Magnetic Charging Cable (Standard/Deluxe) or Wireless Charger (Deluxe/Premium) - Quick Start Guide - Additional Ocean Band Strap (included with Premium model)
2. Charging the Watch - Connect the magnetic charger or place the watch on the wireless charging pad. - Attach the charger to a certified power adapter (5V/2A recommended). - The watch will vibrate briefly and display the charging symbol. - Fast charging available: achieve 50% charge in 30 minutes (Standard 42mm); 80% in 40 minutes (Premium 49mm).

## Slide 3: Setting Up Your Velvera Watch
1. Power On - Press and hold the side button until the Velvera logo appears.
2. Pairing With Your Smartphone - On your phone, download the “Velvera App” from Google Play or Apple App Store. - Enable Bluetooth and open the app. - Tap “Add Device” and select your Velvera Watch model. - Confirm the pairing code shown on both devices.
3. Device Compatibility - Requires Android 9.0+ or iOS 13+. - Ensure Bluetooth and location services are enabled for seamless connectivity.

## Slide 4: Wearing Your Watch
Strap your Velvera Watch snugly on your wrist, about 1 finger’s width above your wrist bone.
Adjust straps for comfort—choose between Fluoroelastomer, Leather, Milanese Loop, or Ocean Band (additional straps sold separately).
For water activities or diving (Premium 49mm), secure the Ocean Band strap provided.

## Slide 5: Daily Operations
Navigating the Watch
Side Button: Wake screen, open apps, long-press for voice assistant.
Swipe Gestures:
  Up/Down: View notifications, control center.
  Left/Right: Access widgets and customizable watch faces.
Always-On Display: Enabled by default. Adjust in Settings > Display.
Notifications
Receive calls, messages, emails, and app alerts instantly.
Swipe down to open Notification Center.
Tap to reply (preset replies on Android, voice input on iOS/Android).
Customize notification preferences within the Velvera App.

## Slide 6: Health and Fitness Features
Monitoring Health
Heart Rate: Continuous monitoring with reminders on abnormal readings.
Sleep Tracking: Auto-detects sleep stages (Deep, Light, REM); view summaries in the Velvera Health App.
Step Counter: Tracks steps, calories, and distance daily.
ECG (Deluxe & Premium): Open ECG app, rest your finger on the side sensor for 30 seconds to record.
Blood Oxygen (SpO₂): Tap SpO₂ icon, keep wrist steady; results appear in 15 seconds.
Stress Detection (Deluxe & Premium): Review stress index and receive guided breathing exercises.
Skin Temperature (Premium 49mm): Measured periodically while worn; alerts for abnormal variations.
Fitness Tracking
Select activity from Multi-Sport Modes (run, swim, bike, yoga, etc.).
For outdoor activities, enable integrated GPS (Deluxe & Premium).
Swimming & Diving (Premium 49mm only): Water resistance up to 100m, records dive depth, duration, and water temperature.

## Slide 7: Connectivity Features
Bluetooth: Standard (v5.2/5.3, model-specific); auto reconnects to paired device.
LTE (Deluxe/Premium): Activate embedded SIM via carrier for untethered calls/messages.
Satellite (Premium only): For location sharing and SOS functionality in remote areas.
Wi-Fi & NFC: Enable in Settings for app downloads, wireless payments, and quick device transfers.

## Slide 8: Additional Apps & Functions
App Store Access: Download popular fitness, productivity, and lifestyle apps.
Velvera Voice/Assistant: Press side button or say “Hey Velvera” to activate smart assistant.
Music Storage: Store up to 8GB of music; pair Bluetooth headphones for cordless listening.
Camera Shutter: Use watch as a remote camera control for your paired smartphone.
Find My Phone: Ping your connected device when misplaced.
Wireless Payments: Register cards in the Velvera App and make NFC payments securely on the go.

## Slide 9: Watch Faces & Customization
Long-press the main screen to browse and select from over 100+ watch faces.
Personalize complications: weather, calendar, health stats, music, and more.
Adjust brightness and always-on settings for battery optimization.

## Slide 10: Care & Maintenance
Clean regularly using a soft, lint-free cloth.
For water exposure (swimming/diving), rinse gently with fresh water and dry before use.
Avoid harsh chemicals to preserve finish (especially Gold, Rose Gold, Ocean Blue).
For strap replacement, squeeze the release pins on the back and swap with compatible Velvera bands.

## Slide 11: Safety & Durability
Rated 5ATM (50m, Standard/Deluxe) or 10ATM (100m, Premium) for water resistance; avoid pressing buttons underwater.
Sapphire Crystal (Deluxe & Premium) ensures high scratch protection.
Emergency SOS (Premium): Long-press side button for 5 seconds—initiates location sharing and notifies emergency contacts.

## Slide 12: Troubleshooting & Support
For setup or pairing issues: Restart both watch and phone; ensure Bluetooth and permissions are active.
If battery drains quickly: Check for always-on GPS, disable unused notifications or background apps.
For warranty claims or premium concierge support: Visit www.velvera.com/support or call 1-800-VELVERA.

## Slide 13: Warranty & Certifications
Standard 1-year warranty on manufacturing defects.
Premium support with 24/7 hotline for Premium model owners.
Certified to CE, FCC, IP68, and respective water resistance standards.

## Slide 14: Important Tips
Software updates improve features and security—enable auto-update via the Velvera App.
Only use Velvera-certified chargers and accessories for safe operation.
Regularly back up health and fitness data to your linked account.

## Slide 15
For the full manual and advanced usage tips, visit www.velvera.com/manuals.
Velvera — Technology, Refined. Life, Elevated.